# Can I? Can’t I?

# Generators

Generators can provide a reliable source of power to your camping setup however care needs to be taken for their use in forests and parks.

# Could your generator spark a bushfire?

Yes.

Generators produce heat and sparks. Any equipment that does this is a fire hazard and must be used with extreme care, especially in forests and parks.

## Before you leave home

Check whether your generator is in safe working order and the exhaust pipe is fitted with a working spark arrestor (e.g. has wire mesh inside the muffler). If you’re not sure, you can ask the store where you bought it or the supplier.

If planning to use a generator, legally* you must pack:

- A water spray pump that is filled with at least 9 litres of water

OR

- A water (stored pressure) fire extinguisher

In all cases, make sure your generator, spark arrestor, water spray pump and fire extinguisher are working and have been purchased from reputable local retailers to make sure they comply with Australian safety requirements.

## Using your generator

Generators can be noisy; please be considerate of other visitors and nearby wildlife.

To legally* operate a generator, you must:

Keep 1.5 metres of cleared space around it and ensure it’s away from any flammable materials such as tents or overhanging branches.

Have your water spray pump or fire extinguisher available to immediately put out any fire.

Other tips:

Position your generator closer to you than to other campers

Ensure cords do not cross areas used by other visitors

If possible, only run your generator when you’re at your campsite

## Other Options

Generator noise can disturb other people’s enjoyment of the area and disturb native wildlife, so think about using alternatives. Solar panels and inverters (which can be coupled with batteries) are the best ways to provide power for your must-have devices when camping and can be used anywhere.

*Under the Forests (Fire Protection) Regulations 2025

To report suspicious or illegal activity call DEECA on 136 186

To contact Parks Victoria, call 131 963

vic.gov.au/camping

# Publication information

## Acknowledgements

We acknowledge and respect Victorian Traditional Owners as the original custodians of Victoria’s land and waters, their unique ability to care for Country and deep spiritual connection to it.

We honour Elders past and present whose knowledge and wisdom has ensured the continuation of culture and traditional practices.

DEECA is committed to genuinely partnering with Victorian Traditional Owners and Victoria’s Aboriginal community to progress their aspirations.

## Copyright

© The State of Victoria Department of Energy, Environment and Climate Action, 2022.

## Creative Commons

This work is licensed under a Creative Commons Attribution 4.0 International licence, visit the Creative Commons website (http://creativecommons.org/licenses/by/4.0/).

You are free to re-use the work under that licence, on the condition that you credit the State of Victoria as author. The licence does not apply to any images, photographs or branding, including the Victorian Coat of Arms, and the Victorian Government and Department logos.

ISBN 978-1-76176-271-0 (Print)

ISBN 978-1-76176-272-7 (pdf/online/MS word))

## Disclaimer

This publication may be of assistance to you but the State of Victoria and its employees do not guarantee that the publication is without flaw of any kind or is wholly appropriate for your particular purposes and therefore disclaims all liability for any error, loss or other consequence which may arise from you relying on any information in this publication.

## Accessibility

To receive this document in an alternative format, phone the Customer Service Centre on 136 186, email customer.service@delwp.vic.gov.au, or contact National Relay Service on 133 677. Available at DEECA website (www.deeca.vic.gov.au). This document is also available on the internet at www.conservationregulator.vic.gov.au.

End of document.